## Tables (hidden)
Material |  | Shape |  | Type | Design Response |  | Lookup Table | Hoover | Jefferson | Mobile | Montgomery | Prattville
Concrete |  | Arch |  | Select: | Pre Total not compeleted |  | (WQ) | 1.1 | 1.1 | 1.14 | 1.1 | 1.1
Earthen |  | Elliptical |  | Orifice: | Post Total not completed |  | (2-yr) | 4.11 | 4.14 | 5.7 | 4.24 | 4.21
Geotextile |  | Round |  | Weir: | Emergency Spillway Section not completed |  | (5-yr) | 5.01 | 5.06 | 7.21 | 5.3 | 5.24
HDPE |  | Rectangle |  | None: | Total Post Q > Pre Q |  | (10-yr) | 5.87 | 5.91 | 8.63 | 6.24 | 6.17
HDPP |  | Square |  |  | Velocity > 6 ft/s |  | (25-yr) | 7.21 | 7.26 | 10.8 | 7.64 | 7.55
Metal |  | Trapezoid |  |  | Max Stage for 2, 5, 10, and/or 25-year storm > Emergency Spillway Crest Elevation |  | (50-yr) | 8.37 | 8.48 | 12.7 | 8.8 | 8.7
Other |  | V-notch |  |  | Latitude and/or Longitude not provided |  | (100-yr) | 9.65 | 9.83 | 14.8 | 10 | 9.93
PVC |  | Other |  |  | WQv Required > WQv Provided |  | Effective Date: | 1 February 2020 | 1 October 2020 | 1 October 2015 | 1 October 2015 | 1 July 2018
Riprap |  |  |  |  | As-Built does not match Design |  | Type: | City | County | City | City | City
[5 empty] | Total Post Q is < -0.50 ft3/s of Pre Q |  | Maintenance Agreement: | Covenant | O&M Agreement | O&M Agreement | O&M Agreement | O&M Agreement
[5 empty] | 0 has not been provided |  | Permit Type: |  |  | Engineering or Building No. | ENG No.
Revision Date: |  | 2024-04-01 |  |  | Freeboard < 1.0 ft |  | Max Velocity: | 6 | 5 | 5 | 6 | 6
Select City: |  | Prattville |  |  | Has mass grading and/or structural fill altered post-development soil conditions? |  | Insp Report Due: |  |  |  | 30 Septbember | 1 September
(WQ) |  | 1.1 | 1.10 |  | Underground detention system is not located on a separate / individual lot |  | Storms: | 2, 5, 10, and 25 | 2, 5, 10, 25, 50, and 100 | 2, 5, 10, and 25 | 2, 5, 10, and 25 | 2, 5, 10, and 25
(2-yr) |  | 4.21 |  |  | Part of a regional stormwater management stratgey - Attach Form 2A.2
(5-yr) |  | 5.24
(10-yr) |  | 6.17
(25-yr) |  | 7.55 |  |  | Registration | Acronym
(50-yr) |  | 8.7
(100-yr) |  | 9.93 |  |  | Certified Erosion, Sediment and Stormwater Inspector | CESSWI No.:
Effective Date: |  | 1 July 2018 |  |  | Certified Professional in Erosion and Sediment Control | CPESC No.:
Entity Type: |  | City |  |  | Certified Professional in Municipal Stormwater Management | CPMSM No.:
Maintenance Agreement: |  | O&M Agreement |  |  | Certified Professional in Stormwater Quality | CPSWQ No.:
Permit Type: |  | 0 |  |  | Professional Engineer | PE No.:
Max Velocity: |  | 6 |  |  | Qualified Credentialed Inspector | QCI No.:
Insp Report Due: |  | 1 September
Storm: |  | 2, 5, 10, and 25
Current Logo
Hoover
Jefferson
Mobile
Montgomery
Prattville

## Instructions
General Instructions
1 | Complete Design Form with the required design information. Once the Design Form is completed, most of the Design section of the As-built Form will be prepopulated.
2 | Field Types
Enter data as applicable for the proposed design.
This is a required field. Once a number or text is entered, the green highlight will be removed.
This is a required field. Place an "X" in the appropriate box and the green highlight will be removed. In some cases, the selection is optional. Once an option is completed, additional fields will be highlighted green and in some fields the green highlight will be removed.
|  | Yes | No | Select either "Yes" or "No" by placing an "X" in the appropriate box. Once an "X" is entered, the green highlight will be removed.
If a field is highlighted yellow after a number is entered, the yellow highlight may indicate an error and/or concern. Once the error and/or concern is resolved, the yellow highlight will be removed. All yellow highlighted cells shall be resolved or an explanitation provided prior to completing the form.
This is a calculated field. Once the required information is entered, the orange highlight will be removed.
| Select |  |  | Use the drop down list to select an orifice or weir.
| Shape |  |  | Use the drop down list to select a shape.
| Material |  |  | Use the drop down list to select a material.
3 | The Supplemental Instructions provide additional guidance and design standards.
4 | Once the Design, As-built, or Inspection Forms are completed, there should be no green, yellow, or orange highlighted fields.
5 | Automated Review Checks: Once information and data are entered into the form, the form will check the information entered and identify any potential issues or concerns. Prior to printing the form, all automated comments shall be resolved.
6 | Printing the form may require some adjustments to the print settings for the printer being used.

## Form 2C.1 - Design
[16 empty] | Form 2C.1 - Underground Detention Design Form | [24 empty] | Form 2C.1 - Underground Detention Design Form
Review Status | [38 empty] | Supplemental Instructions
Reviewed: | [28 empty] | Date:
Approval Status: | [5 empty] | Approved | [7 empty] | Approved Contingent | [8 empty] | Denied | [6 empty] | Incomplete | [8 empty] | General design standards and requirements shall be as follows:
Comments: | [38 empty] | 1 | An underground detentions system shall not be located within a floodplain or floodway;
Development Information | [38 empty] | 2 | Installation of and underground detention system shall not adversely impact and/or cause flooding
|  | Name: | [25 empty] | Date: | [11 empty] | of properties located within, upstream, and/or downstream of the development;
|  | Address: | [25 empty] | BMP ID: | [10 empty] | 3 | The calculation methodology shall utilize the National Resource Conservation Resources (NRCS)
|  |  | Attachments: |  | Design Drawings | [8 empty] | H&H Calculations | [8 empty] | Drainage Basin Maps | [16 empty] | Urban Hydrology for Small Watersheds Technical Release 55 (TR-55) or equivalent as approved
[5 empty] | Soils Data | [8 empty] | Manufacturer Data | [8 empty] | Maintenance Plan | [16 empty] | by the City Engineer;
[6 empty] | Total Area: | [5 empty] | acres | [26 empty] | 4 | All applicable developments shall be responsible for ensuring that post-development hydrology mimics
Proposed Impervious Area (PIA) | [23 empty] | Existing Impervious Area (EIA): |  |  |  |  | acres | [10 empty] | pre-development hydrology for the 2, 5, 10, and 25-year, 24-hour rainfall depths;
[7 empty] | Buildings / Structures: |  |  |  |  | acres |  |  |  |  | Additional Impervious Area (AIA) = PIA - EIA | [21 empty] | 5 | A stormwater pathway (i.e. piped storm sewer, overland flow, etc.) within the development shall
[7 empty] | Driveways / Sidewalks: |  |  |  |  | acres | [7 empty] | AIA = | 0 |  |  |  | acres | [9 empty] | 0 |  |  |  |  | be provided to convey the discharge resulting from a 100-year, 24-hour storm event in a manner that
[7 empty] | Roads: |  |  |  |  | acres |  |  |  |  | Water Quality Volume (WQv): | [22 empty] | will not adversely impact and/or cause flooding of structures within the development;
[7 empty] | Parking: |  |  |  |  | acres | [7 empty] | WQv = | AIA acres X 1.10 in X 3,630 | [17 empty] | 6 | Filtration system for the WQv Orifice shall allow the volume of stormwater associated with the WQv
[7 empty] | Other: |  |  |  |  | acres | [7 empty] | WQv = | 0 |  |  |  | acres X 1.10 in X 3,630 | [14 empty] | to drain slowly from the underground detention system within a 48-hour period;
[7 empty] | Total PIA: | 0 |  |  |  | acres | [7 empty] | WQv = | 0 |  |  |  | ft3 | [13 empty] | 7 | The principal spillway for an underground detention system shall be sized to convey the 100-year,
Pre-Development | [12 empty] | Hydrologic Soil Group: |  | A |  |  | B |  |  | C |  |  | D | [10 empty] | 1 |  |  |  |  | 24-hour storm event;
[10 empty] | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
[8 empty] | Basin ID: | [21 empty] | Pre Total | [8 empty] | 8 | H&H studies for the underground detention system shall include model network, existing drainage
[8 empty] | Drainage Area (acre): | [31 empty] | areas, proposed drainage areas, time of concentration, curve number, pre-development peak
[8 empty] | Curve Number: | [31 empty] | discharges, post-development peak discharges, outlet structure geometry, emergency spillway
[8 empty] | Time of Concentration (min): | [26 empty] | 0 | 0 | Pre Total |  |  | geometry, pond stage-area-storage summary, pond discharge summary, inflow and outflow
|  | Peak Discharge (ft3/s) |  | 4.21 |  |  |  | (2-yr) | [27 empty] | 0 |  |  |  | hydrographs, and outlet pipe velocities.
|  |  |  | 5.24 |  |  |  | (5-yr) | [26 empty] | 0 | 0 |  |  | 9 | Rainfall depths were obtained from NOAA Atlas 14, Volume 9, Version 2.
|  |  |  | 6.17 |  |  |  | (10-yr) | [26 empty] | 0 | 0 |  |  | 10 | An example components of a manufactured system is provided below.
|  |  |  | 7.55 |  |  |  | (25-yr) | [26 empty] | 0 | 0
|  |  |  | 8.7 |  |  |  | (50-yr) | [26 empty] | 0 | 0
|  |  |  | 9.93 |  |  |  | (100-yr) | [26 empty] | 0 | 0
Post-Development | [12 empty] | Hydrologic Soil Group: |  | A |  |  | B |  |  | C |  |  | D | [10 empty] | 1
[10 empty] | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
[8 empty] | Basin ID: | [22 empty] | Post Total
Drainage Area (acre):
Curve Number:
[8 empty] | Time of Concentration (min): | [26 empty] | 0 | 0 | Post Total
|  | Peak Discharge (ft3/s) |  | 4.21 |  |  |  | (2-yr) | [27 empty] | 0
|  |  |  | 5.24 |  |  |  | (5-yr) | [26 empty] | 0 | 0
|  |  |  | 6.17 |  |  |  | (10-yr) | [26 empty] | 0 | 0
|  |  |  | 7.55 |  |  |  | (25-yr) | [26 empty] | 0 | 0
|  |  |  | 8.7 |  |  |  | (50-yr) | [26 empty] | 0 | 0
|  |  |  | 9.93 |  |  |  | (100-yr) | [26 empty] | 0 | 0
[8 empty] | Mass Grading? |  | Yes |  |  | No | [6 empty] | Structural fill? |  | Yes |  |  | No | [9 empty] | 1 | 1 | 1 | 1
2024-04-01 | [15 empty] | Page 1 of 5
| Name: | 0 | [25 empty] | Date: | 0
[28 empty] | BMP ID: | 0
Underground Detention
[6 empty] | Detention Type: |  |  | Detention | [5 empty] | Detention w/ Infiltration | [19 empty] | 1 | 1
[6 empty] | Hydrologic Soil Group: |  |  | A |  |  | B |  |  | C |  |  | D | [10 empty] | Water Table Depth: |  |  |  | ft |  | 1
[9 empty] | Saturated Hydraulic Conductivity: |  |  |  | in/hr | [15 empty] | Field Test Performed? |  | Yes |  |  | No |  | 1
| Pipe System: | [5 empty] | Material: | [8 empty] | Shape: | [6 empty] | Length: |  |  |  | ft |  |  | Inv EL: |  |  |  | ft | 1 |  | 1
[7 empty] | Installed Volume: |  |  |  |  | ft3 |  |  |  | Diameter: |  |  |  | in |  |  | Width: |  |  |  | ft |  |  | Height: |  |  |  | ft | 1 | 1
| Inspection Manholes(s) | [7 empty] | NA |  |  |  |  | Material: | [8 empty] | Diameter: |  |  |  | in | [7 empty] | 1 | 1
[14 empty] | No. : Manholes: |  |  |  | ea | [16 empty] | 1
| Manufactured System: | [8 empty] | ADS |  |  |  | Contech |  |  |  |  | Cultec |  |  |  |  | Prinsco | [10 empty] | 1 | 1
[24 empty] | Other: | [12 empty] | 1
| Chamber Specs | [6 empty] | Type: | [7 empty] | Height: |  |  |  | in |  |  | Width: |  |  |  | in |  |  | Length: |  |  |  | ft
[5 empty] | Pretreatment: |  | Yes |  |  | No |  |  | Type: | [21 empty] | 1 | 1
[5 empty] | Inlet Filters: |  | Yes |  |  | No |  |  | Type: | [21 empty] | 1 | 1
| System Cross Section | [12 empty] | Depth |  |  | Bottom EL |  |  |  |  | Top EL
[12 empty] | Stone Base: |  |  |  | in |  |  |  |  | ft |  |  |  |  | ft
[12 empty] | Chamber Height: |  |  |  | in |  |  |  |  | ft |  |  |  |  | ft
[12 empty] | Stone Above Chamber: |  |  |  | in |  |  |  |  | ft |  |  |  |  | ft
[12 empty] | Compacted Backfill: |  |  |  | in |  |  |  |  | ft |  |  |  |  | ft
[12 empty] | Finished Grade: |  |  |  | in |  |  |  |  | ft |  |  |  |  | ft
| System Layout | [11 empty] | No. Rows |  |  |  | Total Length |  |  |  |  | Total Volume | [5 empty] | Inv. EL
[12 empty] | Isolator Rows: |  |  |  | ea |  |  |  |  | ft |  |  |  |  | ft3 |  |  |  |  | ft
[12 empty] | Chamber Rows: |  |  |  | ea |  |  |  |  | ft |  |  |  |  | ft3 |  |  |  |  | ft
[22 empty] | Total Stone Volume: |  |  |  | ft3
[22 empty] | Total Installed System Volume: | 0 |  |  | ft3
[12 empty] | No. of Isolator Row Manholes: |  |  |  | ea
[9 empty] | ID |  |  |  |  | Sump Depth |  |  |  |  | Diameter |  |  |  |  | Inv. EL |  |  |  |  | Top EL
[8 empty] | Isolator Row Manhole: | [7 empty] | in |  |  |  |  | ft |  |  |  |  | ft |  |  |  |  | ft |  |  |  | 1 | 1 | 1
[8 empty] | Manifold Pipe? |  | Yes |  |  | No | [7 empty] | in |  |  |  |  | ft | [8 empty] | 1 | 1
[8 empty] | Isolator Row Manhole: | [7 empty] | in |  |  |  |  | ft |  |  |  |  | ft |  |  |  |  | ft |  |  |  | 2 | 1 | 1
[8 empty] | Manifold Pipe? |  | Yes |  |  | No | [7 empty] | in |  |  |  |  | ft | [8 empty] | 1 | 1
[8 empty] | Isolator Row Manhole: | [7 empty] | in |  |  |  |  | ft |  |  |  |  | ft |  |  |  |  | ft |  |  |  | 3 | 1 | 1
[8 empty] | Manifold Pipe? |  | Yes |  |  | No | [7 empty] | in |  |  |  |  | ft | [8 empty] | 1 | 1
2024-04-01 | [15 empty] | Page 2 of 5
| Name: | 0 | [25 empty] | Date: | 0
[28 empty] | BMP ID: | 0
System Layout (cont)
[12 empty] | Material | [6 empty] | Diameter |  |  |  |  | Inv. EL
| Underdrain Pipe(s) | [6 empty] | NA | [12 empty] | in |  |  |  |  | ft | [8 empty] | 1 | 1
| Inspection Port(s) | [6 empty] | NA | [12 empty] | in | [5 empty] | No. Ports: |  |  |  | ea |  |  |  | 1 | 1
Outlet Control Structure
|  |  | Material: | [9 empty] | Shape: | [15 empty] | Detail Attached: |  | Yes |  |  | No |  | 1
|  |  | Diameter: |  |  |  |  | ft | [26 empty] | 1
|  |  | Width: |  |  |  |  | ft |  |  |  |  | Length: |  |  |  | ft | [17 empty] | 1
|  |  | Bottom EL: |  |  |  |  | ft |  |  |  |  | Top EL.: |  |  |  | ft | [18 empty] | 1
|  |  |  | Shape | [5 empty] | Dia./Width/Deg |  |  |  |  | Height |  |  |  |  | Inv. EL |  |  |  |  | Length |  |  |  |  | Slope
|  |  | Outlet Pipe: | [8 empty] | in |  |  |  |  | in |  |  |  |  | ft |  |  |  |  | ft |  |  |  |  | % |  |  | 1 | 1
|  |  | WQv Orifice: | [8 empty] | in |  |  |  |  | in |  |  |  |  | ft | [6 empty] | WQ Filter: |  | Yes |  |  | No | 1 | 1 | 1
| Select: | [10 empty] | in |  |  |  |  | in |  |  |  |  | ft | [12 empty] | 1
| Select: | [10 empty] | in |  |  |  |  | in |  |  |  |  | ft | [12 empty] | 1
| Select: | [10 empty] | in |  |  |  |  | in |  |  |  |  | ft | [12 empty] | 1
| Select: | [10 empty] | in |  |  |  |  | in |  |  |  |  | ft | [12 empty] | 1
| Select: | [10 empty] | in |  |  |  |  | in |  |  |  |  | ft | [12 empty] | 1
| Select: | [10 empty] | in |  |  |  |  | in |  |  |  |  | ft | [12 empty] | 1
| Select: | [10 empty] | in |  |  |  |  | in |  |  |  |  | ft | [12 empty] | 1 |  |  | 1
Emergency Spillway | [9 empty] | Yes |  |  |  | No | [14 empty] | Detail Attached: |  | Yes |  |  | No | 1 | 0 | ES Tot | 1
|  |  | Material: | [8 empty] | Shape: | [22 empty] | Width | 0 | Material | 0
|  |  | Width: |  |  |  |  | ft |  |  |  | Length: |  |  |  | ft |  |  |  | Crest EL: |  |  |  | ft |  |  |  |  | Pond Top EL.: |  |  |  | ft |  | Length | 0 | Shape | 0
Outfall Location | [11 empty] | Latitude: | [7 empty] | Longitude: | [14 empty] | Crest | 0 | Top | 0
Underground Detention Stage-Area-Storage Summary | [34 empty] | Lat | 0 | Lat & Long | 0
| Elevation | [5 empty] | Area |  |  |  | Cumulative Vol. | [6 empty] | Elevation |  |  |  |  | Area |  |  |  | Cumulative Vol. | [7 empty] | Long | 0
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1 | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
|  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  |  | ft |  |  |  |  | ft2 | [5 empty] | ft3 |  |  |  | 1 | 1
[5 empty] | WQv Required: | 0 |  |  | ft3 | [6 empty] | WQv Provided: |  |  |  | ft3 | [5 empty] | Elevation: |  |  |  |  | ft |  |  |  | WQv |  | 0
2
2024-04-01 | [15 empty] | Page 3 of 5
| Name: | 0 | [25 empty] | Date: | 0 | [5 empty] | Emerg. Spillway
[28 empty] | BMP ID: | 0 | [5 empty] | 1
[15 empty] | Underground Detention | [19 empty] | Max Stage | Velocity | Total Post | Post < 0.5
Discharge Summary | [10 empty] | Pre Q (ft3/s) |  |  |  | In Q (ft3/s) |  |  |  | Out Q (ft3/s) |  |  | Max Elev. (ft) |  |  |  |  | Velocity (ft/s) |  |  |  | Total Post Q (ft3/s) |  |  |  | 5 | 6 | 6 | 6
[5 empty] | 4.21 |  |  |  | (2-yr) | [25 empty] | 1 | 1 | 1 | 1
[5 empty] | 5.24 |  |  |  | (5-yr) | [25 empty] | 1 | 1 | 1 | 1
[5 empty] | 6.17 |  |  |  | (10-yr) | [25 empty] | 1 | 1 | 1 | 1
[5 empty] | 7.55 |  |  |  | (25-yr) | [25 empty] | 1 | 1 | 1 | 1
[5 empty] | 8.7 |  |  |  | (50-yr) | [25 empty] | 1 | 1 | 1 | 1
[5 empty] | 9.93 |  |  |  | (100-yr) | [25 empty] | 0 | 1 | 1 | 1
Comments:
[35 empty] | Max Velocity | 6
|  | Yes |  |  | No |  | Is this detention pond located on a separate / individual lot? | [27 empty] | 1 | 1
|  | Yes |  |  | No |  | Is this detention pond part of a regional stormwater management strategy? | [27 empty] | 1 | 1
|  | Yes |  |  | No |  | Form 2A.2 is attached? | [27 empty] | 1 | 1 | 2
Professional Engineer Certification
By affixing my professional seal and signature on this form, I hereby certify that the underground detention system:
| • | Is designed in accordance with the latest version of the City's requirements;
| • | Provides the required water quality volume (WQv);
| • | Will not adversely impact and/or cause flooding of structures within the development and downstream of
the development;
| • | Drainage areas shown in the hydrology and hydraulic (H&H) calculations drain into the underground detention
system; and,
| • | Post-development runoff mimics pre-development hydrology to the maximum extent practicable (MEP).
|  |  | Company: | [23 empty] | Seal:
Name:
Address:
|  |  | City: | [9 empty] | State: | [7 empty] | Zip Code:
Email:
Phone:
|  |  | Signature: | [23 empty] | Date:
2024-04-01 | [15 empty] | Page 4 of 5
| Name: | 0 | [25 empty] | Date: | 0
[28 empty] | BMP ID: | 0
Automated Review Checks | [34 empty] | Comments?
[8 empty] | Form Section |  | Automated Comments | [24 empty] | 11
[8 empty] | Pre-Development: |  | Pre Total not compeleted | [24 empty] | 1
[8 empty] | Post-Development: |  | Post Total not completed | [24 empty] | 1
[10 empty] | Has mass grading and/or structural fill altered post-development soil conditions? | [24 empty] | 1
[8 empty] | Emergency Spillway: |  | Emergency Spillway Section not completed | [24 empty] | 1
[8 empty] | Emergency Spillway Freeboard: |  | Freeboard < 1.0 ft | [24 empty] | 1
[8 empty] | Outfall Location: |  | Latitude and/or Longitude not provided | [24 empty] | 1
[8 empty] | WQv: |  | WQv Required > WQv Provided | [24 empty] | 1
[8 empty] | Pond Discharge Summary: | [26 empty] | 0
[8 empty] | Max Stage: |  | Max Stage for 2, 5, 10, and/or 25-year storm > Emergency Spillway Crest Elevation | [24 empty] | 1
[8 empty] | Velocity: |  | Velocity > 6 ft/s | [24 empty] | 1
[8 empty] | Total Post Q: |  | Total Post Q > Pre Q | [24 empty] | 1
[10 empty] | Total Post Q is < -0.50 ft3/s of Pre Q | [24 empty] | 1
[8 empty] | Location: |  | Underground detention system is not located on a separate / individual lot
[8 empty] | Regional Stratgey: |  | Part of a regional stormwater management stratgey - Attach Form 2A.2
2024-04-01 | [15 empty] | Page 5 of 5
Note on E14: Note: Enter street address of proposed development
Note on AE14: Note: Provide a unique BMP ID Examples: Pond 1 Pond A 1 A
Note on AA21: Note: If there is no EIA, enter 0
Note on L31: Note: Enter a unique Basin ID for each subbasin
Note on L44: Note: Enter a unique Basin ID for each subbasin
Note on C131: Note: Select control structure type: Orifice or Weir
Note on O144: Note: Enter number in decimal format. Example: 00.000000
Note on W144: Note: Enter number in decimal format. Example: 00.000000
Note on C148: Note: Include the elevation that represents the WQv
Note on F196: Note: Enter street addres of proposed development
Note on AD201: Note: Before printing the form, check the following: 1. If items are highlighted in green, yellow, or orange, the form is not complete. Provide the required information. 2. If comments are shown in the Automated Review Checks, resolve the comments or provide an explination in the comments section.

## Form 2C.2 - Design Attachment
[9 empty] | Form 2C.2 - Underground Detention Design Form Attachment | [23 empty] | Form 2C.2 - Underground Detention Design Form Attachment
Review Status | [29 empty] | Supplemental Instructions
Reviewed: | [19 empty] | Date:
Approval Status: | [5 empty] | Approved |  |  |  | Approved Contingent | [5 empty] | Denied |  |  |  | Incomplete | [9 empty] | 1 | The Master Plan shall include the following information:
Comments: | [30 empty] | a. | Property boundaries
Development Information: | [30 empty] | b. | Conceptual lot layout by use type (i.e. residential, commercial, open space, etc.)
|  | Name: | [17 empty] | Date: | [10 empty] | c. | Proposed roads
|  | Address: | [17 empty] | Latitude: | [10 empty] | d. | Location of underground detention system
|  | City: | [6 empty] | State: |  |  |  |  | Zip Code: | [5 empty] | Longitude:
Contact:
|  | Email: | [17 empty] | Phone: |  |  |  |  | 0 | 0 | 0 | 1 | 0
|  |  | Attachments: |  | Master Plan | [7 empty] | Select Development Type: |  | Residential | [7 empty] | Number of Phases: |  | 0 | 0 | 0 | 1
[5 empty] | Final Plat | [9 empty] | Commercial | [7 empty] | Number of Lots: |  | 0 | 0 | 0
[13 empty] | Select Units: |  | ac |  |  | sq-ft
| No |  |  | Yes |  | Will the underground detenton system be maintained by an assocation? | [18 empty] | 1 | 1 | 0 | 1
| No |  |  | Yes |  | Will all Phases or Lots be a member of the association? | [18 empty] | 1 | 1 | 0 | 1
| No |  |  | Yes |  | Is the underground detention system located on a separate lot? | [18 empty] | 1 | 1 | 0 | 1
Type? |  |  |  | Type? |  |  |  | Area |  |  |  | Imp. Area |  |  |  |  | Imp. Area |  |  | Discharges to Pond? |  |  |  |  | Type? | Type? |  | Pond
| 1 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 2 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 3 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 4 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 5 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 6 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 7 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 8 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 9 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 10 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 11 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 12 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 13 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 14 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
| 15 | [7 empty] | Units? |  |  |  | Units? |  |  |  | 0 |  | % |  |  | Yes |  | No | 1 | 1 |  | 0 | 1
[7 empty] | Total: | 0 | Units? |  | Total: | 0 | Units? |  |  | Total: | 0 |  | %
2024-04-01 | [11 empty] | Page 1 of 2
| Name: | 0 | [17 empty] | Date: | 0
Comments:
1
Professional Engineer Certification
By affixing my professional seal and signature on this form, I hereby certify that the proposed underground detention system
was designed to accommodate the Phases and/or Lots included in this attachment.
|  | Company: | [16 empty] | Seal:
Name:
Address:
|  | City: | [6 empty] | State: |  |  |  |  | Zip Code:
Email:
Phone:
|  | Signature: | [16 empty] | Date:
2024-04-01 | [11 empty] | Page 2 of 2
Note on E16: Note: Enter street address of proposed development
Note on AE16: Note: Enter number in decimal format. Example: 00.000000
Note on AE17: Note: Enter number in decimal format. Example: -00.000000
Note on E86: Note: Enter street address of proposed development
Note on AC91: Note: Before printing the form, check the following: 1. If items are highlighted in green, yellow, or orange, the form is not complete. Provide the required information or provide an explanation in the comments section.

## Form 3C - As-built
[18 empty] | Form 3C - Underground Detention As-Built Certification Form | [28 empty] | Form 3C - Underground Detention As-Built Certification Form
| Review Status | [41 empty] | Supplemental Instructions
| Reviewed: | [28 empty] | Date:
| Approval Status: | [7 empty] | Approved | [6 empty] | Approved Contingent | [9 empty] | Denied | [6 empty] | Incomplete | [9 empty] | 1 | The developer / owner shall retain the services of a professional land surveyor to:
| Comments: | [42 empty] | a. | Perform a field survey of the constructed underground detention system; and,
Development Information | [37 empty] | 0 | [5 empty] | b. | Develop an as-built drawing.
|  |  | Name: | 0 | [25 empty] | Date: | [12 empty] | 2 | As-built survey, at a minimum, shall include the following:
|  |  | Address: | 0 | [25 empty] | BMP ID: | 0 | [12 empty] | a. | Site features to include but not limited to roads, rights-of-way, property lines, driveways, buildings,
| Attachments: | [5 empty] | As-built Survey | [6 empty] | As-built H&H Calculations | [11 empty] | O&M Agreement | [7 empty] | Photos | [10 empty] | parking areas, fences, retaining walls, dumpster pads, etc.
Underground Detention | [43 empty] | b. | Storm sewers showing pipes, inlets, junction boxes, outlets, outlet protection, and invert elevations
| Design | [18 empty] | As-Built | [23 empty] | c. | Location of the underground detention components, contours, spot elevations, outlet structure, outlet pipe,
| 0 | Pipe System: | [9 empty] | Installed Volume: | 0 |  |  |  | ft3 |  |  |  | Pipe System: | [9 empty] | Installed Volume: |  |  |  |  | ft3 |  | 1 | 1 | [5 empty] | emergency spillway, and outlet protection
[5 empty] | Material: | 0 | [5 empty] | Shape: | 0 | [10 empty] | Material: | [6 empty] | Shape: | [12 empty] | d. | Detail of the outlet structure showing elevations and dimensions of multi-stage riser, orifices, weirs,
[5 empty] | Length: | 0 |  |  | ft |  |  | Inv EL: | 0 |  |  | ft | [7 empty] | Length: |  |  |  | ft |  |  | Inv EL: |  |  |  | ft | [9 empty] | outlet pipe, WQ filter, etc.
[5 empty] | Diameter: | 0 |  |  | in | [14 empty] | Diameter: |  |  |  | in | [9 empty] | 1
[5 empty] | Width: | 0 |  |  | ft |  |  | Height: | 0 |  |  | ft | [7 empty] | Width: |  |  |  | ft |  |  | Height: |  |  |  | ft |  |  | 1 |  |  |  |  | 3 | The developer shall retain the services of a professional engineer to:
| Inspection Manholes(s) | [8 empty] | 0 | NA | [8 empty] | Inspection Manholes(s) | [8 empty] | NA | [8 empty] | 1 | [5 empty] | a. | Use the as-built survey data to complete Form 3C – Underground Detention Pond As-built
|  |  |  | Material: | 0 | [17 empty] | Material: | [21 empty] | Certification Form;
|  |  |  | Diameter: | 0 |  |  | in |  |  |  |  | No. Manholes: | 0 |  |  | ea | [5 empty] | Diameter: |  |  |  | in |  |  |  |  | No. Manholes: |  |  |  | ea |  | 1 | [5 empty] | b. | Provide ALL required attachments:
| 0 | Manufactured System: | [18 empty] | Manufactured System: | [16 empty] | 1 | [6 empty] | • | As-Built Survey Drawing(s)
|  | 0 | ADS |  |  | 0 | Contech |  |  |  |  | Type: | 0 | [8 empty] | ADS |  |  |  | Contech |  |  |  |  | Type: | [6 empty] | 1 | [6 empty] | • | H&H Calculations
|  | 0 | Cultec |  |  | 0 | Prinsco | [14 empty] | Cultec |  |  |  | Prinsco | [18 empty] | • | Photographs
|  | 0 | Other: |  |  | 0 | [15 empty] | Other: | [15 empty] | 1 | [6 empty] | • | O&M Agreement
|  |  |  | Pretreatment: | 0 | Yes |  | 0 | No |  |  | Type: | 0 | [9 empty] | Pretreatment: |  | Yes |  |  | No |  |  | Type: | [6 empty] | 1 | 1 |  |  |  | 4 | Photographs, at a minimum, shall include the following:
|  |  |  | Inlet Filters: | 0 | Yes |  | 0 | No |  |  | Type: | 0 | [9 empty] | Inlet Filters: |  | Yes |  |  | No |  |  | Type: | [6 empty] | 1 | 1 |  |  |  |  | a. | Caption identifying the location and/or description of the photograph
| System Cross Section | [7 empty] | Depth |  |  |  | Bottom EL | [6 empty] | System Cross Section | [7 empty] | Depth |  |  |  | Bottom EL | [11 empty] | b. | Underground detention system components during construciton
[7 empty] | Stone Base: | 0 |  |  | in |  | 0 |  |  | ft | [9 empty] | Stone Base: |  |  |  | in |  |  |  |  | ft | [8 empty] | c. | General overview of the underground detention system
[7 empty] | Chamber Height: | 0 |  |  | in |  | 0 |  |  | ft | [9 empty] | Chamber Height: |  |  |  | in |  |  |  |  | ft | [8 empty] | d. | Outlet structure showing multi-stage riser, orifices, weirs, outlet pipe, and WQ filter
[7 empty] | Stone Above Chamber: | 0 |  |  | in |  | 0 |  |  | ft | [9 empty] | Stone Above Chamber: |  |  |  | in |  |  |  |  | ft | [8 empty] | e. | Outlet pipe discharge location and outlet protection
[7 empty] | Compacted Backfill: | 0 |  |  | in |  | 0 |  |  | ft | [9 empty] | Compacted Backfill: |  |  |  | in |  |  |  |  | ft | [8 empty] | f. | Emergency spillway and discharge location
[7 empty] | Finished Grade: | 0 |  |  | in |  | 0 |  |  | ft | [9 empty] | Finished Grade: |  |  |  | in |  |  |  |  | ft | [8 empty] | g. | Location where the underground detention system discharges into receiving stream, culvert, or channel
| System Layout | [6 empty] | Isolator |  |  |  |  | Chamber | [6 empty] | System Layout | [6 empty] | Isolator |  |  |  |  | Chamber | [10 empty] | 5 | Form 3C – Underground Detention Pond As-built Certification Form shall be approved by the City prior to:
[7 empty] | No. Rows: | 0 |  |  | ea |  | 0 |  |  | ea | [9 empty] | No. Rows: |  |  |  | ea |  |  |  |  | ea | [8 empty] | a. | The issuance of a Certificate of Occupancy; and/or,
[7 empty] | Total Length: | 0 |  |  | ft |  | 0 |  |  | ft | [9 empty] | Total Length: |  |  |  | ft |  |  |  |  | ft | [8 empty] | b. | Prior to approval of the Final Plat.
[7 empty] | Total Volume: | 0 |  |  | ft3 |  | 0 |  |  | ft3 | [9 empty] | Total Volume: |  |  |  | ft3 |  |  |  |  | ft3
[7 empty] | Inv. EL: | 0 |  |  | ft |  | 0 |  |  | ft | [9 empty] | Inv. EL: |  |  |  | ft |  |  |  |  | ft
[10 empty] | Total Stone Volume: | 0 |  |  | ft3 | [14 empty] | Total Stone Volume: |  |  |  | ft3
[10 empty] | Total Installed System Volume: | 0 |  |  | ft3 | [14 empty] | Total Installed System Volume: | 0 |  |  | ft3
| 2024-04-01 | [15 empty] | Page 1 of 5
|  | Name: | 0 | [27 empty] | Date: | 0
[31 empty] | BMP ID: | 0
| Isolator Row Manhole | [8 empty] | ---------- Manifold ---------- | [10 empty] | Isolator Row Manhole | [7 empty] | ---------- Manifold ---------- | [8 empty] | No. IRM | 0
|  | ID |  | Sump Depth | [5 empty] | Inv. EL |  |  |  |  | Diameter | [6 empty] | ID |  | Sump Depth |  |  |  |  | Inv. EL |  |  |  |  | Diameter
| 0 |  |  |  | 0 |  | in |  |  | 0 |  |  | ft |  | 0 |  | in | [9 empty] | in |  |  |  |  | ft |  |  |  | in |  | 1 | 1
| 0 |  |  |  | 0 |  | in |  |  | 0 |  |  | ft |  | 0 |  | in | [9 empty] | in |  |  |  |  | ft |  |  |  | in |  | 2 | 1
| 0 |  |  |  | 0 |  | in |  |  | 0 |  |  | ft |  | 0 |  | in | [9 empty] | in |  |  |  |  | ft |  |  |  | in |  | 3 | 1
| Underdrain Pipe(s) | [6 empty] | 0 | NA |  |  |  |  | Diameter: | 0 |  | in |  |  |  | Underdrain Pipe(s) | [7 empty] | NA |  |  |  | Diameter: |  |  | in |  | 1 | 1
|  |  |  | Material: | 0 | [7 empty] | Inv. EL: | 0 |  |  | ft | [6 empty] | Material: | [7 empty] | Inv. EL: |  |  |  | ft
| Inspection Port(s) | [6 empty] | 0 | NA |  |  |  |  | Diameter: | 0 |  | in |  |  |  | Inspection Port(s) | [7 empty] | NA |  |  |  | Diameter: |  |  | in |  | 1
|  |  |  | Material: | 0 | [8 empty] | No. Ports: | 0 |  | ea | [6 empty] | Material: | [8 empty] | No. Ports: |  |  | ea |  | 1
Outlet Control Structure
| Design | [19 empty] | As-Built
|  |  | Material: | 0 | [7 empty] | Shape: | 0 | [9 empty] | Material: | [8 empty] | Shape:
|  |  | Diameter: | 0 |  |  | ft | [15 empty] | Diameter: |  |  |  | ft | [10 empty] | 1
|  |  | Width: | 0 |  |  | ft |  |  |  | Length: | 0 |  |  | ft | [7 empty] | Width: |  |  |  | ft |  |  |  |  | Length: |  |  |  | ft |  | 1
|  |  | Bottom EL.: | 0 |  |  | ft |  |  |  | Top EL.: | 0 |  |  | ft | [7 empty] | Bottom EL.: |  |  |  | ft |  |  |  |  | Top EL.: |  |  |  | ft
|  |  | Trash Rack: | 0 | Yes |  | 0 | No | [14 empty] | Trash Rack: |  | Yes |  |  | No | [9 empty] | 1
|  |  |  | Shape |  |  |  |  | Dia./Width/Deg |  |  |  | Height |  |  |  | Inv. EL |  |  |  |  | Shape |  |  |  |  | Dia./Width/Deg |  |  |  | Height |  |  |  | Inv. EL
|  |  | Outlet Pipe: | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | in |  |  |  | ft | 1
|  |  | WQv Orifice: | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | in |  |  |  | ft | 1
|  |  | WQ Filter: | 0 | Yes |  | 0 | No | [14 empty] | WQ Filter: |  | Yes |  |  | No | [9 empty] | 1
| Select: |  |  | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | in |  |  |  | ft | 1
| Select: |  |  | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | in |  |  |  | ft | 1
| Select: |  |  | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | in |  |  |  | ft | 1
| Select: |  |  | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | in |  |  |  | ft | 1
| Select: |  |  | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | ft |  |  |  | ft | 1
| Select: |  |  | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | ft |  |  |  | ft | 1
| Select: |  |  | 0 |  |  |  | 0 |  |  | in | 0 |  |  | in | 0 |  |  | ft | [9 empty] | in |  |  |  | ft |  |  |  | ft | 1
Emergency Spillway | [40 empty] | Yes | No
| Design | [19 empty] | As-Built | [5 empty] | Yes |  |  |  | No | [6 empty] | E. Spillway | 0 | 1 | 1 | 1
|  |  | Material: | 0 | [8 empty] | Shape: | 0 | [8 empty] | Material: | [8 empty] | Shape: | [5 empty] | Material | 0 | Shape | 0
|  |  | Width: | 0 |  |  | ft | [5 empty] | Length: | 0 |  |  | ft | [5 empty] | Width: |  |  |  | ft |  |  |  |  | Length: |  |  |  | ft |  | Width | 0 | Length | 0
|  |  | Crest EL.: | 0 |  |  | ft | [5 empty] | Pond Top EL.: | 0 |  |  | ft | [5 empty] | Crest EL.: |  |  |  | ft |  |  |  |  | Pond Top EL.: |  |  |  | ft |  | Crest | 0 | Top | 0
Outfall Location
| Design | [5 empty] | Latitude: | 0 | [12 empty] | As-Built | [6 empty] | Latitude: | [9 empty] | Lat | 0
[7 empty] | Longitude: | 0 | [19 empty] | Longitude: | [9 empty] | Long | 0 | Lat & Long | 0
Water Quality Volume (WQv)
| Design | [6 empty] | WQv Required: | 0 |  |  | ft3 | [8 empty] | As-Built | [6 empty] | WQv Provided: |  |  |  | ft3 | [5 empty] | WQv | 1
2
| 2024-04-01 | [15 empty] | Page 2 of 5
|  | Name: | 0 | [27 empty] | Date: | 0
[31 empty] | BMP ID: | 0
Pond Stage-Area-Storage Summary
| Design | [19 empty] | As-Built
|  | Elevation |  |  |  | Area | [5 empty] | Cumulative Vol. | [9 empty] | Elevation |  |  |  | Area | [5 empty] | Cumulative Vol.
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  | 0 | 0 | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
| 0 |  |  | ft |  | 0 |  |  |  | ft2 |  | 0 |  |  |  | ft3 | [7 empty] | ft | [5 empty] | ft2 | [5 empty] | ft3 |  |  |  | 1
Discharge Summary
Underground Detention
| Design | [6 empty] | Pre Q (ft3/s) |  |  |  |  | In Q (ft3/s) |  |  |  |  | Out Q (ft3/s) |  |  |  |  | Max Stage (ft) |  |  |  |  | Velocity (ft/s) |  |  |  |  | Total Post Q (ft3/s)
|  | 4.21 |  |  |  | (2-yr) |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  | 5.24 |  |  |  | (5-yr) |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  | 6.17 |  |  |  | (10-yr) |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  | 7.55 |  |  |  | (25-yr) |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | Emerg. Spillway |  | Max Velocity | 6
|  | 8.7 |  |  |  | (50-yr) |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 1
|  | 9.93 |  |  |  | (100-yr) |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | Pre Q | Pond In Q | Max Stage | Velocity | Total Post
| As-Built | [6 empty] | Pre Q (ft3/s) |  |  |  |  | Pond In Q (ft3/s) |  |  |  |  | Pond Out Q (ft3/s) |  |  |  |  | Max Stage (ft) |  |  |  |  | Velocity (ft/s) |  |  |  |  | Total Post Q (ft3/s) |  |  |  |  | 6 | 6 | 6 | 6 | 6
|  | 4.21 |  |  |  | (2-yr) | [31 empty] | 1 | 1 | 1 | 1 | 1
|  | 5.24 |  |  |  | (5-yr) | [31 empty] | 1 | 1 | 1 | 1 | 1
|  | 6.17 |  |  |  | (10-yr) | [31 empty] | 1 | 1 | 1 | 1 | 1
|  | 7.55 |  |  |  | (25-yr) | [31 empty] | 1 | 1 | 1 | 1 | 1
|  | 8.7 |  |  |  | (50-yr) | [31 empty] | 1 | 1 | 1 | 1 | 1
|  | 9.93 |  |  |  | (100-yr) | [31 empty] | 1 | 1 | 1 | 1 | 1
| 2024-04-01 | [15 empty] | Page 3 of 5
|  | Name: | 0 | [27 empty] | Date: | 0
[31 empty] | BMP ID: | 0
Comments:
Owner's Information
Name:
Address:
|  |  |  | City: | [19 empty] | State: | [7 empty] | Zip Code:
Contact Name:
|  |  |  | Email: | [24 empty] | Phone:
| Home Owners Association (HOA) Information | [23 empty] | Not Applicable | [12 empty] | 1
HOA Name:
Address:
|  |  |  | City: | [19 empty] | State: | [7 empty] | Zip Code:
|  |  |  | Contact Name: | [24 empty] | Title:
|  |  |  | Email: | [24 empty] | Phone:
Professional Engineer Certification
By affixing my professional seal and signature on this form, I hereby certify that the underground detention system has been constructed in accordance with the approved design. I further certify that the drainage areas shown in the approved hydrology and hydraulic (H&H) calculations do in fact drain into the underground detention system and that the post-development runoff mimics pre-development hydrology to the maximum extent practicable (MEP).
|  |  | Company: | [23 empty] | Seal:
Name:
Address:
|  |  | City: | [9 empty] | State: | [7 empty] | Zip Code:
Email:
Phone:
|  |  | Signature: | [23 empty] | Date:
| 2024-04-01 | [15 empty] | Page 4 of 5
|  | Name: | 0 | [27 empty] | Date: | 0
[31 empty] | BMP ID: | 0
Photographs
|  |  | Yes |  | No | [17 empty] | No. Taken |  |  |  |  | Date
[7 empty] | Caption and/or description on all photographs | [30 empty] | 1 | 1 | 1
[7 empty] | General Overview | [30 empty] | 1 | 1 | 1
[7 empty] | Photographs taken during construction | [30 empty] | 1 | 1 | 1
[7 empty] | Inspection ports | [30 empty] | 1 | 1 | 1
[7 empty] | Isolator row manhole | [30 empty] | 1 | 1 | 1
[7 empty] | Manifold, isolator row, chamber rows | [30 empty] | 1 | 1 | 1
[7 empty] | Outlet control structure | [30 empty] | 1 | 1 | 1
[7 empty] | Outfall to receiving stream / storm sewer | [30 empty] | 1 | 1 | 1
Automated Review Checks | [37 empty] | Comments?
[9 empty] | Form Section |  | Automated Comments | [26 empty] | 8
0 has not been provided
[9 empty] | Emergency Spillway: |  | Emergency Spillway Section not completed | [26 empty] | 1
[9 empty] | Emergency Spillway Freeboard: |  | Freeboard < 1.0 ft
[9 empty] | Outfall Location: |  | Latitude and/or Longitude not provided | [26 empty] | 1
[9 empty] | WQv: |  | WQv Required > WQv Provided | [26 empty] | 1
[9 empty] | Discharge Summary: | [28 empty] | 0
[9 empty] | Pre Q: |  | As-Built does not match Design | [26 empty] | 1
[9 empty] | Pond In Q: |  | As-Built does not match Design | [26 empty] | 1
[9 empty] | Max Stage: |  | Max Stage for 2, 5, 10, and/or 25-year storm > Emergency Spillway Crest Elevation | [26 empty] | 1
[9 empty] | Velocity: |  | Velocity > 6 ft/s | [26 empty] | 1
[9 empty] | Total Post Q: |  | Total Post Q > Pre Q | [26 empty] | 1
| 2024-04-01 | [15 empty] | Page 5 of 5
Note on AD105: Note: Enter number in decimal format. Example: 00.000000
Note on AD106: Note: Enter number in decimal format. Example: 00.000000
Note on E191: Note: Enter street addres of proposed development
Note on AC196: Note: Before printing the form, check the following: 1. If items are highlighted in green, yellow, or orange, the form is not complete. Provide the required information. 2. If comments are shown in the Automated Review Checks, resolve the comments or provide an explination in the comments section.

## Form 4C - Inspection
[13 empty] | Form 4C - Underground Detention Annual Inspection Form | [26 empty] | Form 4C - Underground Detention Annual Inspection Form
Review Status | [36 empty] | Supplemental Instructions
Reviewed: | [23 empty] | Date:
Approval Status: | [5 empty] | Approved |  |  |  |  | Approved Contingent | [6 empty] | Denied | [5 empty] | Incomplete | [12 empty] | The developer/owner shall retain the services of a registered professional to:
Comments: | [36 empty] | 1 | Inspect the underground detention system to determine:
Development Information: | [30 empty] | 0 | [6 empty] | • | If the underground detention system cotinues to function as it was originally designed; and,
|  | Name: | [21 empty] | Date: | [13 empty] | • | If any maintenance is required; or,
|  | Address: | [21 empty] | BMP ID: | [13 empty] | • | If an inspection is needed by a professional engineer.
|  | City: | [7 empty] | State: | [5 empty] | Zip Code: | [7 empty] | Latitude: | [12 empty] | 2 | Complete Form 4C - Underground Detention Annual Inspection Form;
|  | Contact: | [21 empty] | Longitude: | [12 empty] | 3 | Provide ALL required attachments:
|  | Email: | [21 empty] | Phone: | [13 empty] | • | Photographs
Attachments: | [5 empty] | Photographs |  |  |  |  | Maintenance Summary | [26 empty] | • | Maintenance Summary
Inspection Observations | [10 empty] | Detention |  |  |  |  | Detention w/ Infiltration | [14 empty] | 1 | [5 empty] | 4 | Form 4C - Underground Detention Annual Inspection Form shall be submitted to the City on an annual basis
1 | Inspection Manholes / Port(s): | [9 empty] | NA |  |  |  |  | 2 | Outlet Control Structure: | [8 empty] | NA |  | Yes |  | No | 1 |  |  |  | 1 |  |  | by 1 September of each year.
|  |  |  | ID: | [22 empty] | Litter/Debris? |  |  |  | 1 | 1 | 1 |  | 1 |  | 5 | If maintenance is required to ensure that the underground detention system continues to function as it was
|  |  |  | Type: | [22 empty] | Sediment? | [7 empty] | 1 |  |  | originally designed, the developer / owner shall submit an updated Form 4C – Underground Detention Annual
|  |  |  | Shape: | [22 empty] | Standing Water? | [7 empty] | 1 |  |  | Inspection Form when all maintenance activities have been completed.
[5 empty] | Yes |  | No |  | Yes |  | No |  | Yes |  | No | [11 empty] | Damaged? | [7 empty] | 1 |  | 6 | A registered professional shall include:
|  |  |  | Litter / debris? | [16 empty] | WQ Orifice: | NA |  |  |  |  | Damaged? |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  | • | CESSWI - Certified Erosion, Sediment, and Stormwater Inspector
|  |  |  | Sediment? | [16 empty] | Staged Orifice: | NA |  |  |  |  | Damaged? |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  | • | CPESC - Certified Professional in Erosion and Sediment Control
|  |  |  | Standing water? | [16 empty] | Weirs: | NA |  |  |  |  | Damaged? |  |  |  | 1 | 1 | 1 | 1 | 1 |  |  | • | CPMSM - Certified Professional in Municipal Stormwater Management
|  |  |  | Damaged? | [13 empty] | Suspect illicit discharge present? | [12 empty] | 1 | 1 | 1 |  | 1 | 1 |  | • | CPSWQ - Certified Professional in Stormwater Quality
2 | Isolator Row Manhole: | [9 empty] | NA | [6 empty] | Suspect illicit discharge type? | [12 empty] | 1 | [6 empty] | • | PE - Professional Engineer
|  |  |  | ID: | [26 empty] | 1 | 1 | 1 |  |  |  |  | • | QCI - Qualified Credentialed Inspector
|  |  |  | Type: | [11 empty] | 3 | Outfall: | [19 empty] | 7 | Photographs, at a minimum, shall include the following:
|  |  |  | Shape: | [16 empty] | Discharges to: | [16 empty] | a. | Caption identifying the location and/or description of the photograph
[5 empty] | Yes |  | No |  | Yes |  | No |  | Yes |  | No | [10 empty] | Litter/Debris? | [8 empty] | 1 |  |  | b. | Outlet control structure showing multi-stage riser, orifices, weirs, outlet pipe, and WQ filter
|  |  |  | Litter / debris? | [21 empty] | Sediment? |  |  |  |  | 1 | 1 | 1 |  | 1 |  |  | c. | Outlet pipe discharge location and outlet protection
|  |  |  | Sediment? | [21 empty] | Damaged? |  |  |  |  | 1 | 1 | 1 |  | 1 | 1 |  | d. | Location where the underground detention system discharges into receiving stream, culvert, or channel
|  |  |  | Standing water? | [16 empty] | Damage type? | [9 empty] | 1 | 1 | 1
|  |  |  | Damaged? | [26 empty] | 1 | 1 | 1
2024-04-01 | [13 empty] | Page 1 of 3
|  | Name: | 0 | [20 empty] | Date: | 0
[24 empty] | BMP ID: | 0
Follow-up Actions
|  | No follow-up actions are required | [12 empty] | Maintenance is required | [15 empty] | 1
Maintenance Needed
1 | Inspection Port(s) | [7 empty] | Repair |  |  | 7 | Underground Detention System
2 | Isolator Row Manhole(s) | [7 empty] | Repair |  |  |  |  | Remove litter / trash | [11 empty] | bags |  |  | tons |  |  | 1 | 1
3 | Outlet Control Structure | [7 empty] | Repair |  |  |  |  | Remove sediment | [11 empty] | cy |  |  | tons |  |  | 1 | 1
4 | Staged Orifices | [7 empty] | Repair |  |  |  |  | Report suspect illicit discharge
5 | Weirs | [7 empty] | Repair |  |  | 8 | Outfall
6 | Outfall | [7 empty] | Repair |  |  |  |  | Remove litter / trash | [11 empty] | bags |  |  | tons |  |  | 1 | 1
[14 empty] | Remove sediment | [11 empty] | cy |  |  | tons |  |  | 1 | 1
Underground Detention
System Comments:
Outfall Comments:
Photographs | [5 empty] | NA |  | Yes | No | [9 empty] | No. Taken |  |  |  | Date
[11 empty] | Inspection Manholes / Ports | [19 empty] | 1 | 1 | 1 | 1
[11 empty] | Isolator Row Manhole | [19 empty] | 1 | 1 | 1 | 1
[11 empty] | Outlet Control Structure | [19 empty] | 1 | 1 | 1
[11 empty] | Outfall | [19 empty] | 1 | 1 | 1
Owner's Information
Name:
Address:
|  |  | City: | [15 empty] | State: | [6 empty] | Zip Code:
Contact Name:
|  |  | Email: | [20 empty] | Phone:
Home Owners Association (HOA) Information | [19 empty] | Not Applicable | [14 empty] | 1
HOA Name:
Address:
|  |  | City: | [15 empty] | State: | [6 empty] | Zip Code:
Contact Name:
|  |  | Email: | [20 empty] | Phone:
2024-04-01 | [13 empty] | Page 2 of 3
|  | Name: | 0 | [20 empty] | Date: | 0
[24 empty] | BMP ID: | 0
Registered Professional Certification
By affixing my signature on this form, I hereby certify that the underground detention system:
|  | Is being properly maintained in accordance with the City's requirements and functioning as it was designed. | [28 empty] | 1
Requires the above described maintenance in order to function as it was designed. Upon completion of the required maintenance activities, I shall reinspect the underground detention system and provide a supplemental Annual Inspection Form.
Requires a more detailed follow-up inspection by a professional engineer.
|  | Company: | [17 empty] | Professional Registration:
|  | Name: | [28 empty] | 1
|  | Address: | [10 empty] | State:
|  | City: | [10 empty] | Zip Code: | [6 empty] | Registration Number:
|  | Email: | [18 empty] | Type?
Phone:
|  | Signature: | [17 empty] | Date:
2024-04-01 | [13 empty] | Page 3 of 3
Note on E15: Note: Enter the name of the development
Note on AE17: Note: Enter number in decimal format. Example: 00.000000
Note on AE18: Note: Enter number in decimal format. Example: 00.000000
Note on Z135: Note: Use the drop down list to select your professional registration type.
Note on Z141: Note: Before printing the form, check the following: 1. If items are highlighted in green, yellow, or orange, the form is not complete. Provide the required information.